## Design
|  | Maintenace Hole No. |  | 1:2 Year Storm |  |  | 1:5 Year Storm |  |  | 1:10 Year Storm |  |  | Total Areas |  |  | Total Area | Cum. Total Area | Inlet Time (min.) | In Pipe Flow Time | 1:2 Year Peak Flow |  |  |  | 1:5 Year Peak Flow |  |  |  | 1:10 Year Peak Flow |  |  |  | Total Peak Flow | Pipe Data | [9 empty] | Upstream Geometry |  |  |  | Downstream Geometry
FromToId | Street | From | To | 0.57 | 0.58 | 0.65 | 0.57 | 0.58 | 0.65 | 0.57 | 0.58 | 0.67 | 1:2 Yr | 1:5 Yr | 1:10 Yr |  |  |  |  | 2.78AR | Cum. 2.78AR | 1:2 Yr Intensity | Peak Flow | 2.78AR | Cum. 2.78AR | 1:5 Yr Intensity | Peak Flow | 2.78AR | Cum. 2.78AR | 1:10 Yr Intensity | Peak Flow |  | Dia | Height | Width | Actual Diameter | Slope | Q Full | V Full | Length | Residual Capacity | % Full | Centerline | Obvert | Invert | Cover | Centerline | Drop | Obvert | Invert | Cover
192-191 | Eramosa | 192 | 191 | [29 empty] | 600 |  |  |  | 0.35%

## PipeData
Handle | From | To | FromToId | Length | Slope | InnerDiameter | StartCenterline | StartObvert | StartInvert | EndCenterline | EndObvertDrop | EndObvert | EndInvert
value | 192 | 191 | 192-191 | 100 | 0.35% | 600 |  | 100.7 | 100.1 |  |  | 100.35 | 99.75
value | 190 | 189 | 190-189 | 100 | 0.35% | 600 |  | 100.35 | 99.75 |  |  | 100 | 99.4
100